## Slide 1
Presentation of ME 400: Project & Thesis
STUDY OF BLADE PERFORMANCE PARAMETERS OF HORIZONTAL AXIS WIND TURBINE FOR DIFFERENT AIRFOIL SECTION TO BE USED IN BANGLADESH
Under the supervision of:
Dr. Md. Mahbubul Alam
Professor , Department of Mechanical Engineering
BUET
Presented By-
Md. Samim ul Islam (1410141)
Badhan Sarker Shuvo (1410105)
Arnob Nandy Mazumder (1410092)

## Slide 2: Overview
Introduction to wind power
Problem statement
Airfoil analysis
Solution flowchart
Results
Conclusion

## Slide 3: Wind Power
Wind is a key source of renewable energy in the world.
Wind turbine is to extract the energy from the wind.
The kinetic energy of the wind is converted to rotational energy by the turbine blades.
The rotating shaft is usually connected to a generator for electricity production.

## Slide 4: Wind turbine types
There are 2 types of wind turbine depending on their axis of rotation.
- Horizontal Axis Wind Turbine (HAWT)
- Vertical Axis Wind Turbine (VAWT)
Commercially HAWT is used in wind power plants because of its efficiency in both low speed and high speed wind.
Fig: Horizontal axis wind turbine
Fig: Vertical axis wind turbine

## Slide 5: Wind Turbine Power Equation
Power available in wind, Pw = 0.5×ρ×A×v³
Turbine power, PT = Pw × Cp
Where,
ρ = air density (kg/m³)
A = Area swept by the turbine (m²)
v = Wind speed normal to A (m/s)
Cp = Turbine power coefficient

## Slide 6: Problem Statement
We calculated the power coefficient (Cp) for the turbine described in the Table below. The turbine has a tip radius of 5 m and a tip speed ratio of 8 and three blades.
Power coefficient was calculated for airfoils NACA 0012, NACA 0015, NACA 23018, NACA 23024, NACA 2415, NACA 25112, NACA 64210.
r [m] | γ [º] | c [m]
0.2 | 61.0 | 0.70
1 | 74.3 | 0.71
2 | 84.9 | 0.44
3 | 89.1 | 0.30
4 | 91.3 | 0.23
5 | 92.6 | 0.19

## Slide 7
Chart: Angle of attack
Lift coefficient curve for NACA 0012 airfoil
Chart: Angle of attack
Drag coefficient curve for NACA 0012 airfoil
NACA 0012 Airfoil
Fig: Chord distribution

## Slide 8
Chart: Drag coefficient curve for NACA 0015 airfoil
| 0 | 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12 | 13 | 14 | 15 | 16 | 17 | 18 | 19 | 20
 | 0.007061 | 0.007032 | 0.007116 | 0.007334 | 0.007707 | 0.008256 | 0.009003 | 0.009968 | 0.011174 | 0.01264 | 0.014389 | -0.014504 | 0.007165 | 0.030156 | 0.054392 | 0.079798 | 0.1063 | 0.13383 | 0.16231 | 0.19167 | 0.22184
Chart: Lift coefficient curve for NACA 0015 airfoil
| 0 | 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12 | 13 | 14 | 15 | 16 | 17 | 18 | 19 | 20
 | -0.016578 | 0.097274 | 0.20265 | 0.30523 | 0.40808 | 0.51198 | 0.61589 | 0.71734 | 0.81281 | 0.89817 | 0.96907 | 1.0214 | 1.0515 | 1.0569 | 1.0363 | 0.99059 | 0.92247 | 0.8375 | 0.74419 | 0.65453 | 0.58432
NACA 0015 Airfoil
Fig: Chord distribution

## Slide 9
NACA 23018 Airfoil
Chart: Lift coefficient curve for NACA 23018 airfoil
Chart: Drag coefficient curve for NACA 23018 airfoil
Fig: Chord distribution

## Slide 10
Chart: Lift coefficient curve for NACA 23024 airfoil
| 0 | 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12 | 13 | 14 | 15 | 16 | 17 | 18 | 19 | 20 | 21 | 22 | 23 | 24 | 25
 | 0.10058 | 0.18396 | 0.26966 | 0.35802 | 0.44791 | 0.53665 | 0.6205 | 0.69571 | 0.76048 | 0.8178 | 0.88691 | 0.92971 | 0.94624 | 0.94479 | 0.92536 | 0.88795 | 0.83256 | 0.75919 | 0.70489 | 0.73362 | 0.76126 | 0.78783 | 0.81331 | 0.8377 | 0.86101 | 0.88323
Chart: Drag coefficient curve for NACA 23024 airfoil
| 0 | 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12 | 13 | 14 | 15 | 16 | 17 | 18 | 19 | 20 | 21 | 22 | 23 | 24 | 25
 | 0.009993 | 0.01029 | 0.010718 | 0.011265 | 0.011918 | 0.012665 | 0.013493 | 0.01439 | 0.015342 | 0.036176 | 0.040196 | 0.044215 | 0.048235 | 0.035512 | 0.086236 | 0.1363 | 0.18569 | 0.23443 | 0.2825 | 0.32991 | 0.37665 | 0.42273 | 0.46814 | 0.5129 | 0.55699 | 0.60041
NACA 23024 Airfoil
Fig: Chord distribution

## Slide 11
Chart: Angle of attack
Chart: Angle of attack
Lift coefficient curve for NACA 25112
airfoil
Drag coefficient curve for NACA 25112 airfoil
NACA 25112 Airfoil
Fig: Chord distribution

## Slide 12
Chart: Lift coefficient curve for NACA 64210 airfoil
| 0 | 0.25 | 0.5 | 0.75 | 1 | 1.25 | 1.5 | 1.75 | 2 | 2.25 | 2.5 | 2.75 | 3 | 3.25 | 3.5 | 3.75 | 4 | 4.25 | 4.5 | 4.75 | 5 | 5.25 | 5.5 | 5.75 | 6 | 6.25 | 6.5 | 6.75 | 7 | 7.25 | 7.5 | 7.75 | 8 | 8.25 | 8.5 | 8.75 | 9 | 9.25 | 9.5 | 9.75 | 10 | 10.25 | 10.5 | 10.75 | 11 | 11.25 | 11.5 | 11.75 | 12 | 12.25 | 12.5 | 12.75
 | 0.1749 | 0.2033 | 0.2315 | 0.2598 | 0.288 | 0.3161 | 0.3438 | 0.3712 | 0.3989 | 0.4263 | 0.4538 | 0.4813 | 0.5075 | 0.531 | 0.5521 | 0.5742 | 0.5981 | 0.6235 | 0.649 | 0.6737 | 0.6979 | 0.7215 | 0.7433 | 0.77 | 0.7981 | 0.824 | 0.8494 | 0.8744 | 0.8986 | 0.9171 | 0.9411 | 0.965 | 0.9882 | 1.0108 | 1.0332 | 1.0553 | 1.0776 | 1.0999 | 1.12 | 1.1282 | 1.1478 | 1.1649 | 1.1791 | 1.1888 | 1.1933 | 1.1895 | 1.1801 | 1.1675 | 1.1399 | 1.1232 | 1.0678 | 1.0312
Chart: Drag coefficient curve for NACA 64210 airfoil
| 0 | 0.25 | 0.5 | 0.75 | 1 | 1.25 | 1.5 | 1.75 | 2 | 2.25 | 2.5 | 2.75 | 3 | 3.25 | 3.5 | 3.75 | 4 | 4.25 | 4.5 | 4.75 | 5 | 5.25 | 5.5 | 5.75 | 6 | 6.25 | 6.5 | 6.75 | 7 | 7.25 | 7.5 | 7.75 | 8 | 8.25 | 8.5 | 8.75 | 9 | 9.25 | 9.5 | 9.75 | 10 | 10.25 | 10.5 | 10.75 | 11 | 11.25 | 11.5 | 11.75 | 12 | 12.25 | 12.5 | 12.75
 | 0.00507 | 0.00508 | 0.00511 | 0.00512 | 0.00514 | 0.00519 | 0.00523 | 0.00532 | 0.0054 | 0.00549 | 0.00559 | 0.0057 | 0.00592 | 0.00656 | 0.00759 | 0.00844 | 0.009 | 0.00931 | 0.00955 | 0.00985 | 0.01014 | 0.01036 | 0.01065 | 0.01119 | 0.01154 | 0.01197 | 0.01243 | 0.01292 | 0.01349 | 0.01493 | 0.01554 | 0.01616 | 0.01691 | 0.01776 | 0.01864 | 0.01955 | 0.02029 | 0.02083 | 0.0218 | 0.02588 | 0.0266 | 0.02778 | 0.02934 | 0.03143 | 0.03393 | 0.03673 | 0.03924 | 0.04212 | 0.04697 | 0.05089 | 0.06087 | 0.06962
NACA 64210 Airfoil
Fig: Chord distribution

## Slide 13
Chart: Drag coefficient for NACA2415 airfoil
Chart: Lift coefficient for NACA 2415 airfoil
NACA 2415 Airfoil
Fig: Chord distribution

## Slide 14
Start
Select Position 1
Insert all the inputs
Calculate solidity of rotor
Calculate initial flow angle
Calculate incident angle
Calculate CL and CD
Calculate a and a’
Are these first values of a and a’?
Store as previous a and a’
Is (new a-previous a)/new a <0.0001?
Is (new a'-previous a)/new a' <0.0001?
Are those value for final position?
Store as final a and a’
Calculate flow angle
Select next position
Calculate power coefficient
Display power coefficient
End
Flow chart
Yes
No
Yes
Yes
Yes
No
No
No

## Slide 15: Equations
1. Rotor solidity, σ’ =
2. Initial flow angle, β =90º - ()
3. Incident angle, i = γ – β
4. Tip loss correction factor, Q =
5. Axial induction factor, a = (1+)-1
6. Angular induction factor, a’ = [](1-a)
7. Flow angle, β =
8. Power coefficient,

## Slide 16
Chart: Position 1 (r=0.2m)
| NACA23024 | NACA0015 | NACA64210 | NACA23018 | NACA0012 | NACA25112 | NACA2415
 | 0.99337 | 0.41389 | 0.83305 | 0.49921 | 0.92079 | 0.96741 | 0.49977
Result
Fig: Axial induction factor
Variation of axial induction factor

## Slide 17
Chart: Position 2 (r=1m)
| NACA23024 | NACA0015 | NACA64210 | NACA23018 | NACA0012 | NACA25112 | NACA2415
 | 0.26395 | 0.29172 | 0.31651 | 0.31771 | 0.32884 | 0.33087 | 0.3458
Fig: Axial induction factor

## Slide 18
Chart: Position 3 (r=2m)
| NACA23024 | NACA0015 | NACA64210 | NACA23018 | NACA0012 | NACA25112 | NACA2415
 | 0.27939 | 0.32191 | 0.36221 | 0.36422 | 0.38171 | 0.38566 | 0.41174
Fig: Axial induction factor

## Slide 19
Chart: Position 4 (r=3m)
| NACA23024 | NACA0015 | NACA64210 | NACA23018 | NACA0012 | NACA25112 | NACA2415
 | 0.28955 | 0.3424 | 0.39568 | 0.39949 | 0.4181 | 0.429 | 0.46829
Fig: Axial induction factor

## Slide 20
Chart: Position 5 (r=4m)
| NACA23024 | NACA0015 | NACA64210 | NACA23018 | NACA0012 | NACA25112 | NACA2415
 | 0.30991 | 0.37292 | 0.44269 | 0.44808 | 0.47343 | 0.49021 | 0.56246
Fig: Axial induction factor

## Slide 21
Chart: Position 6 (r=5m)
| NACA23024 | NACA0015 | NACA64210 | NACA23018 | NACA0012 | NACA25112 | NACA2415
 | 0.32852 | 0.38743 | 0.46326 | 0.46944 | 0.48007 | 0.49854 | 0.56708
Fig: Axial induction factor

## Slide 22
Chart: Axial induction factor for different radial position
| 0.2 | 1 | 2 | 3 | 4 | 5
NACA 23024 | 0.99337 | 0.26395 | 0.27939 | 0.28955 | 0.30991 | 0.32852
NACA 0015 | 0.41389 | 0.29172 | 0.32191 | 0.3424 | 0.37292 | 0.38743
NACA64210 | 0.83305 | 0.31651 | 0.36221 | 0.39568 | 0.44269 | 0.46326
NACA 23018 | 0.92079 | 0.32884 | 0.38171 | 0.4181 | 0.47343 | 0.48007
NACA 0012 | 0.92079 | 0.32884 | 0.38171 | 0.4181 | 0.47343 | 0.48007
NACA 25112 | 0.96741 | 0.33087 | 0.38566 | 0.429 | 0.49021 | 0.49854
NACA 2415 | 0.49977 | 0.3458 | 0.41174 | 0.46829 | 0.56246 | 0.56708

## Slide 23
Chart: Position 1 (r=0.2m)
| NACA23024 | NACA0015 | NACA64210 | NACA23018 | NACA0012 | NACA25112 | NACA2415
 | 0.05929 | 0.90286 | 0.69826 | 0.84328 | 0.33539 | 0.24245 | 0.81619
Fig: Angular induction factor
Variation of angular induction factor

## Slide 24
Chart: Position 2
Chart: Position 2 (r=1m)
| NACA23024 | NACA0015 | NACA64210 | NACA23018 | NACA0012 | NACA25112 | NACA2415
 | 0.069329 | 0.073869 | 0.077054 | 0.077206 | 0.078821 | 0.079223 | 0.080785
Fig: Angular induction factor

## Slide 25
Chart: Position 3 (r=2m)
| NACA23024 | NACA0015 | NACA64210 | NACA23018 | NACA0012 | NACA25112 | NACA2415
 | 0.018565 | 0.020316 | 0.021464 | 0.021518 | 0.022067 | 0.02224 | 0.02271
Fig: Angular induction factor

## Slide 26
Chart: Position 4 (r=3m)
| NACA23024 | NACA0015 | NACA64210 | NACA23018 | NACA0012 | NACA25112 | NACA2415
 | 0.008371 | 0.009306 | 0.009874 | 0.00992 | 0.010136 | 0.010289 | 0.010446
Fig: Angular induction factor

## Slide 27
Chart: Position 5 (r=4m)
| NACA23024 | NACA0015 | NACA64210 | NACA23018 | NACA0012 | NACA25112 | NACA2415
 | 0.00484 | 0.005405 | 0.005708 | 0.005733 | 0.005835 | 0.00591 | 0.005838
Fig: Angular induction factor

## Slide 28
Chart: Position 6 (r=5m)
| NACA23024 | NACA0015 | NACA64210 | NACA23018 | NACA0012 | NACA25112 | NACA2415
 | 0.003111 | 0.003542 | 0.003757 | 0.003784 | 0.003852 | 0.003958 | 0.003935
Fig: Angular induction factor

## Slide 29
Chart: Angular induction factor for different radial position
| 0.2 | 1 | 2 | 3 | 4 | 5
NACA 23024 | 0.05929 | 0.069329 | 0.018565 | 0.008371 | 0.00484 | 0.003111
NACA 0015 | 0.90286 | 0.073869 | 0.020316 | 0.009306 | 0.005405 | 0.003542
NACA 64210 | 0.69826 | 0.077054 | 0.021464 | 0.009874 | 0.005708 | 0.003757
NACA 23018 | 0.84328 | 0.077206 | 0.021518 | 0.00992 | 0.005733 | 0.003784
NACA 0012 | 0.33539 | 0.078821 | 0.022067 | 0.010136 | 0.005835 | 0.003852
NACA 25112 | 0.24245 | 0.079223 | 0.02224 | 0.010289 | 0.00591 | 0.003958
NACA 2415 | 0.81619 | 0.080785 | 0.02271 | 0.010446 | 0.005838 | 0.003935

## Slide 30
Chart: Power coefficient for different airfoils
| NACA2415 | NACA0012 | NACA23018 | NACA64210 | NACA23024 | NACA25112 | NACA0015
 | 0.46978 | 0.49837 | 0.51811 | 0.51991 | 0.54452 | 0.54724 | 0.56426

## Slide 31
Chart: Month of the year
| 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12
Chittagong | 468.4146 | 999.4763 | 3637.7531 | 12253.0245 | 11771.9408 | 19280.9329 | 19948.0351 | 14200.5383 | 4913.0778 | 819.0182 | 280.1371 | 268.52
Cox's Bazar | 1333.6343 | 1631.2159 | 2272.6608 | 3240.8979 | 4401.7324 | 6648.9736 | 7528.4115 | 5434.1647 | 2117.7619 | 893.4308 | 719.0054 | 876.5209
Kutubdia | 457.4366 | 525.9459 | 1103.772 | 1669.6461 | 1856.9808 | 4501.0159 | 4501.0159 | 3121.8566 | 876.5209 | 300.2352 | 145.4503 | 205.495
Sayedpur | 544.0804 | 884.9489 | 2782.2923 | 3082.8339 | 1829.4024 | 1483.3914 | 1289.672 | 811.0148 | 588.0049 | 272.3559 | 242.6721 | 321.2723
Khepupara | 153.1946 | 300.2352 | 1367.2538 | 5128.2191 | 5930.542 | 5349.5512 | 4966.2875 | 3487.9825 | 1084.2941 | 158.5072 | 71.9028 | 73.5006
Power that can be extracted by the wind turbine in Bangladesh

## Slide 32
Conclusion
After studying several airfoil, we find that NACA 0015 provides the best performance for our turbine.
We have worked with fixed tip speed ratio, for further study variable tip speed ratio may be used.
In Bangladesh, Chittagong will provide highest power output but only for a certain period.
The power output of the turbine will be low and inconsistent in most of the time throughout the year, so the turbine may be used for water pumping system rather than electricity generation

## Slide 33
References
[1] Lysen,E. H. (1983) Introduction to Wind Energy.
[2] G. Ingram, “Wind Turbine Blade Analysis using the Blade Element Momentum Method.,” October, vol. 1.1, no. c, pp. 1–21, 2011.
[3] Normal Wind Speed | Bangladesh Meteorological Department, http://bmd.gov.bd/p/Normal-Wind-Speed/ [Last access on 19 April 23, 2019]
[4] Marten,D. and Wendler,J. (2013) QBlade Guidelines v0.6

## Slide 34
THANK YOU